## Sheet1
Ayacht Technology Solutions
Incidental Cabling
SingleCAT5E-150 | Cat. 5E 4 Pair Tef. -150', Includes Faceplates, Inserts, Labor and Materials | 144
SingleCAT6-150 | Cat. 6 4Pair Tef. -150', Includes Faceplates, Inserts, Labor and Materials | 189
DualCAT5E-150 | 2 - Cat. 5E 4 Pair Tef. -150', Includes Faceplates, Inserts, Labor and Materials | 180
DualCAT6-150 | 2 - Cat. 6 4Pair Tef. -150', Includes Faceplates, Inserts, Labor and Materials | 225
TriplelCAT5E-150 | 3 - Cat. 5E 4 Pair Tef. -150', Includes Faceplates, Inserts, Labor and Materials | 270
TripleCAT6-150 | 3 - Cat. 6 4Pair Tef. -150', Includes Faceplates, Inserts, Labor and Materials | 315
QuadlCAT5E-150 | 4 - Cat. 5E 4 Pair Tef. -150', Includes Faceplates, Inserts, Labor and Materials | 342
QuadCAT6-150 | 4 - Cat. 6 4Pair Tef. -300', Includes Faceplates, Inserts, Labor and Materials | 387
SingleCAT5E-300 | Cat. 5E 4 Pair Tef. -300', Includes Faceplates, Inserts, Labor and Materials | 194
SingleCAT6-300 | Cat. 6 4Pair Tef. -300', Includes Faceplates, Inserts, Labor and Materials | 239
DualCAT5E-300 | 2 - Cat. 5E 4 Pair Tef. -300', Includes Faceplates, Inserts, Labor and Materials | 230
DualCAT6-300 | 2 - Cat. 6 4Pair Tef. -300', Includes Faceplates, Inserts, Labor and Materials | 275
TriplelCAT5E-300 | 3 - Cat. 5E 4 Pair Tef. -300', Includes Faceplates, Inserts, Labor and Materials | 320
TripleCAT6-300 | 3 - Cat. 6 4Pair Tef. -300', Includes Faceplates, Inserts, Labor and Materials | 365
QuadlCAT5E-300 | 4 - Cat. 5E 4 Pair Tef. -300', Includes Faceplates, Inserts, Labor and Materials | 392
QuadCAT6-300 | 4 - Cat. 6 4Pair Tef. -300', Includes Faceplates, Inserts, Labor and Materials | 437
Incidental Components
CN1 | NetAccess Switch Cabinet | 4653.5016
CMR4P84 | 4 POST RACK | 858.528
CMR19X84 | 2 POST FREESTANDING DATA RACK | 237.6
PRV6 | 6 INCH PATCH RUNNER, VERT CABLE MGMT | 497.376
PRV8 | 8 INCH PATCH RUNNER, VERT. CABLE MGMT | 555.984
PRV12 | 12 INCH PATCH RUNNER VERT. CABLE MGMT | 727.056
PRD6 | 6 INCH PATCH RUNNER DUAL HINGED DOOR | 220.176
PRD8 | 8 INCH PATCH RUNNER DUAL HINGED DOOR | 243.936
PRD12 | 12 INCH PACTH RUNNER DUAL HINGED DOOR | 280.368
WMP1E | 2 RU HORIZONTAL CABLE MANAGEMENT PANEL | 62.2512
WMPV45E | 45 RU VERTICAL CABLE MANAGER | 228.4128
CFPL2IW | 2 PORT FACEPLATE WITH LABEL HOLDER | 2.1252
CFPL4IW | 4 PORT FACEPLATE WITH LABEL HOLDER | 2.1252
CBXS2IW-A | 2 PORT SURFACE MOUNT BOX | 5.2272
KWP6PY | CAT 6 WALL PHONE PLATE AND JACK | 17.7144
KWP5EY | CAT 5E WALL PHONE PLATE AND JACK | 14.4672
CMFIW | F CONNECTOR MODULE | 4.3032
CHD15HDSCIWY | D-SUB INSERT MODULE | 22.0308
CPPLA24WBLY | 24 PORT, MOULAR ANGLED PATCH PANEL, 1 RU | 55.8096
CPPLA48WBLY | 48 PORT, MODULAR ANGLED PATCH PANEL, 2 RU | 91.146
CPPA48HDWBLY | HIGH DENSITY 48 PORT MOD. ANGLED PATCH PANEL, 1RU | 143.8008
NCMHAEF4 | HIGH CAPACITY, 4 RU HORIZONTAL CABLE MGMT PANEL | 131.472
SRM19X18A1 | 18 IN DEEP ADJUSTABLE SHELF, 200LBS | 198
SRM19X25A1 | 25 IN DEEP ADJUSTABLE SHELF, 200 LBS | 212.256
CMRPSH20 | HORIZONTAL, 19 IN POWER STRIP, 10 RECEPTS, 20 AMP | 215.424
CMRPSV20 | VERTICAL POWER STRIP, 10 RECEPTS, 20 AMP | 2249.28
PRSP7 | 7 INCH SLACK SPOOL | 11.088
PRSP5 | 5 INCH SLACK SPOOL | 9.504
CJ5E88TGIW | CAT 5E JACK MODULE | 6.5076
CJ688TGIW | CAT 6 JACK MODULE | 9.4908
UTPCH5 | 5 FT CAT 5E PATCH CORD | 4.8048
UTPCH7 | 7 FT CAT 5E PATCH CORD | 5.4384
UTPCH10 | 10 FT CAT 5E PATCH CORD | 6.336
UTPSP5 | 5 FT CAT 6 PATCH CORD | 9.504
UTPSP7 | 7 FT CAT 6 PATCH CORD | 10.164
UTPSP10 | 10 FT CAT 6 PATCH CORD | 10.9032
CPAF1BL | 1 RU, ANGLED FILLER PLATE | 53.3808
CPAF2BL | 2 RU, ANGLED FILLER PLATE | 60.3636
RGS134-1 | RACK GROUNDING STRIP | 122.694
RGCBNJ660P | COMMON BONDING NETWORK TO RACK JUMPER KIT | 64.2708
RGEJ624PH | #6 AWG JUMPER 24", 45 DEGREE LUG TO STRAIGHT LUG | 52.668
RGEJ624PF | #6 AWG JUMPER 24", 90 DEGREE LUG TO STRAIGHT LUG | 52.668
RGEJ636PF | #6 AWG JUMPER 36", 90 DEGREE LUG TO STRAIGHT LUG | 53.8956
RGW-12-1 | PAINT PIERCING GROUNDING WASHER KIT ( 1 RACK) | 24.5388
RGESD-1 | ELECTROSTATIC DISCHARGE PORT KIT (1 RACK) | 19.8264
GB2B0306TPI-1 | 1/4" x 2 " x 12" TELECOM GROUNDING BUSBAR | 124.2648
GB2B0312TPI-1 | 1/4" X 2 " x 20" TELECOM GROUNDING BUSBAR | 156.7896
CPPL24WBLY | 24 PORT MODULAR PATCH PANEL | 30.0168
CPPL48WBLY | 48 PORT MODULAR PATCH PANEL | 53.8428
DP48688TGY | 48 PORT CAT 6 PATCH PANEL | 449.2884
DP24688TGY | 24 PORT CAT 6 PATCH PANEL | 227.5416
DP245E88TGY | 24 PORT CAT 5E PATCH PANEL | 178.7808
DP485E88TGY | 48 PORT CAT 5E PATCH PANEL | 357.1128
FLCSMC5BLY | Opticam LC | 15.9324
FWME4 | Opticom Wall Mount Enclosure, accepts 4 FAP | 154.6908
FMD1 | Opticom Rack Mount Fiber Drawer, 1RMU, accepts 4 FAP | 232.056
FCE1 | Opticom QuickNet Rack Mount Fiber Enclosure, accepts 4 | 232.056
FAP12WAQDLCZ | 12LC duplex (24 fiber) FAP adapter plate | 189.75
FCXO-12-10Y | 6LC duplex (12 fiber) MTP Cassette | 582.912
FCXO-24-10Y | 12LC duplex (24 fiber) MTP Cassette | 871.2
FAPB | Blank FAP panel | 4.8048
FRME2 | 2 RU RACK MOUNT FIBER ENCLOSURE | 237.204
FWME2 | WALL MOUNT FIBER ENCLOSURE | 69.2076
FSCMC6BL | SC FIBER CONNECTOR | 15.84
CFFPL4BL | MODUALR FURNITURE FACEPLATE | 2.64
SMT750 | APC Smart-UPS 1000VA Rack-mountable UPS - 1 kVA/700 W - 2URack-mountable 0.15 Hour Full Load - 6 x NEMA 5-15R | 555.38
SMT1000RM2U | APC Smart-UPS 1440VA Rack-mountable UPS - 1.44 kVA/1 kW - 2URack-mountable 0.12 Hour Full Load - 6 x NEMA 5-15R | 737.62
SMT1500RM2U | APC Smart-UPS 2200VA Rack-mountable UPS - 2.20 kVA/1.98 kW - 2URack-mountable 0.08 Hour Full Load - 6 x NEMA 5-15R, 2 x NEMA 5-20R | 1096.89
SMT2200RM2U | APC Smart-UPS 3000VA Rack-mountable UPS - 3 kVA/2.70 kW - 2URack-mountable 0.05 Hour Full Load - 6 x NEMA 5-15R, 2 x NEMA 5-20R | 1336.53
SMT3000RM2U | APC Smart-UPS 750VA Rack-mountable UPS - 750 VA/500 W - 2URack-mountable 0.09 Hour Full Load - 6 x NEMA 5-15R | 433.53
SMT750RM2U | APC Smart-UPS 2200 VA Tower UPS - 2.20 kVA/1.98 kWTower 0.12 Hour Full Load | 1013.67
SMT2200I | APC Smart-UPS 3000 VA Tower UPS - 3 kVA/2.70 kWTower 0.10 Hour Full Load | 1284.33
SMT3000I | APC Smart-UPS 1000 VA Tower UPS - 1 kVA/670 WTower 0.10 Hour Full Load | 533.36
SMT1000I | APC Smart-UPS 750 VA Tower UPS - 750 VA/500 WTower 0.08 Hour Full Load | 368.39
SMT750I | APC Smart-UPS 1500 VA Tower UPS - 1.50 kVA/980 WTower 0.12 Hour Full Load | 641.34
SMT1500I | APC Smart-UPS 2200VA Tower UPS - 2.20 kVA/1.98 kWTower - 8 x NEMA 5-15R, 2 x NEMA 5-20R | 896.65
SMT2200 | APC Smart-UPS 3000VA Tower UPS - 3 kVA/2.70 kWTower - 8 x NEMA 5-15R, 2 x NEMA 5-20R | 1196.08
SMT3000 | APC UPS Battery Pack - 48 V DC | 637.95
SURTA48RMXLBP=A1 | APC Smart-UPS RT 2200 VA Tower/Rack mountable UPS - 2.20 kVA/1.75 kW - 2UTower/Rack Mountable 0.05 Hour Full Load - 6 x NEMA 5-15R | 1370.61
SURTA2200RMXL2U | APC Smart-UPS RT 3000VA Tower/Rack-mountable UPS - 3000VA/2100W - 14.1 Minute Full Load - 2 x NEMA L6-20R, 2 x NEMA L6-30R | 2250.65
SURTD3000RMXLT3U | APC UPS Rail Kit - Gray | 134.94
SURTRK2 | APC Smart-UPS RT 6kVA Tower/Rack-mountable UPS - 3.3 Minute Full Load - 6kVA - SNMP Manageable | 4396.59
SURT6000RMXLT-1TF5 | APC Smart-UPS RT 8kVA Tower/Rack-mountable UPS - 6.3 Minute Full Load - 8kVA - SNMP Manageable | 5621.82
SURT8000XLT-1TF3 | APC Smart-UPS RT 10kVA Scalable to 10kVA Rack/Tower with Two Step-Down Transformer - 4 Minute Full Load - 10kVA - SNMP Manageable | 6973.19
SURT7500RMXLT-1TF5 | APC Smart-UPS RT 3kVA Rack-mountable UPS - 14.1 Minute Full Load - 3kVA | 2790.22
SURT3000XLT-1TF3 | APC Smart-UPS RT 5kVA Rack-mountable UPS - 5 Minute Full Load - 5kVA - SNMP Manageable | 3923.36
SURTD5000RMXLT-1TF5 | APC Smart-UPS On-Line 15 kVA Tower/Rack Mountable UPS - 0.13 Hour Full Load - 15 kVA - SNMP Manageable | 11964.4
SURT5000XLT-1TF3 | APC Smart-UPS RT 6000VA Tower/Rack-mountable UPS - 6000VA/4200W - 5.3 Minute Full Load - 2 x NEMA L6-20R - Battery/Surge-protected, 2 x NEMA L6-30R - Battery/Surge-protected | 3968.74
SURT6000RMXLT3U | APC Smart-UPS RT 3000VA Rack/Tower - 3000VA/2100W - 14.1 Minute Full Load - 6 x NEMA 5-15R, 2 x NEMA 5-20R | 2080.28
SURTA3000XL | APC Smart-UPS RT 10kVA Rack-mountable UPS - 4 Minute Full Load - 10kVA - SNMP Manageable | 7041.14
SURT10000XLT-1TF10K | APC Smart-UPS RT 8kVA Rack Mountable UPS - 8kVA - SNMP Manageable | 5084.36
SURT8000RMXLI | APC SMART-UPS RT 1500VA (120V) - 1500VA/1050W - 8.6 Minute Full Load - 6 x NEMA 5-15R - Battery/Surge-protected | 976.89
SURT7500XLT-1TF3 | APC Smart-UPS RT 6000VA Rack-Mountable UPS - 6000VA/4200W - 4.4 Minute Full Load - 1 x NEMA L6-30R, 1 x NEMA L14-30R, 4 x NEMA 5-20R | 4479.87
SURTD6000RMXLP3U | APC Smart-UPS RT 6kVA Tower/Rack-mountable - 5.3 Minute Full Load - 6kVA | 4531.91
SURT8000RMXLT-1TF5 | APC Smart-UPS 10KVA Rack/Tower with Transformer - 4 Minute Full Load - 10kVA - SNMP Manageable | 6644.52
SURT10000RMXLT-2TF5 | APC - 4.8K VA Isolated Step-Down Transformer - 4.8kVA - 220V AC - 120V AC, 208V AC | 673.51
SURTD3000RMXLT-1TF5 | APC Smart-UPS RT 8KVA Rack-mountable UPS - 6.3 Minute Full Load - 8kVA - SNMP Manageable | 5638.51
SURT8KRMXL6U-TF5 | APC Smart-UPS RT 10kVA Rack-mountable UPS - 4 Minute Full Load - 10kVA - SNMP Manageable | 6969.79
SURT10KRMXL6U-TF5 | APC Smart-UPS RT 48V Battery Pack - Spill Proof, Maintenance Free Lead Acid | 500.72
SURTA48XLBP | APC Smart-UPS RT 3000VA Tower/Rack-mountable UPS - 3000VA/2100W - 14.1 Minute Full Load - 6 x NEMA 5-15R - Battery/Surge-protected, 2 x NEMA 5-20R - Battery/Surge-protected | 2214.72
SURTA3000RMXL3U | APC Smart-UPS RT 5kVA Rack-mountable UPS - 5 Minute Full Load - 5kVA - SNMP Manageable | 4164.01
SURTD5000XLT-1TF3 | APC Smart-UPS RT 8kVA Rack-mountable UPS - 6.3 Minute Full Load - 8kVA - SNMP Manageable | 5039.18
SURT8000RMXLT6U | APC 1920VAh UPS Battery Pack - 192V DC - Spill Proof, Maintenance Free Sealed Lead Acid | 1080.47
SURT20KRMXLT-1TF10 | APC Smart-UPS RT 3000VA Tower/Rack-Mountable UPS - 3000VA/2100W - 14.1 Minute Full Load - 1 x NEMA L6-30R, 2 x NEMA L6-20R, 12 x NEMA 5-20R | 2832.31
SURTD3KRMXL3U-TF5 | APC Smart-UPS RT 8kVA Tower/Rack-mountable UPS - 6.3 Minute Full Load - 8kVA - SNMP Manageable | 4841.91
SURT8000XLT | APC Smart-UPS RT 192V Battery Pack - Maintenance-free Lead Acid Hot-swappable | 947.25
SURT5000RMXLT-1TF5 | APC Smart-UPS RT 1500VA Tower/Rack-mountable UPS - 1500VA/1050W - 8.6 Minute Full Load - 6 x NEMA 5-15R - Battery/Surge-protected | 1086.69
SURTA1500RMXL2U | APC Smart-UPS On-Line 15 kVA Tower/Rack Mountable UPS - 0.13 Hour Full Load - 15 kVA - SNMP Manageable | 10577.82
SURT3000RMXLT-1TF5 | APC Smart-UPS RT 6kVA Rack-mountable UPS - 5.3 Minute Full Load - 6kVA - SNMP Manageable | 4561.47
SURT6KRMXL3U-TF5 | APC Smart-UPS RT 10kVA Tower/Rack-mountable UPS - 4 Minute Full Load - 10kVA - SNMP Manageable | 5612.04
SURT10000RMXLT6U | APC Smart-UPS RT 2200 VA Tower UPS - 2.20 kVA/1.75 kWTower 0.05 Hour Full Load - 6 x NEMA 5-15R | 1238.62
SURTA2200XL | APC UPS Battery Pack - 48V DC - Spill Proof | 628.73
SURTA2000RMXL | APC Smart-UPS RT 5000VA Tower/Rack-mountable UPS - 5000VA/4000W - 4.8 Minute Full Load - 1 x NEMA L6-20R, 1 x NEMA L14-30R, 4 x NEMA 5-20R | 4177.61
SURTD5000RMXLP3U | APC Smart-UPS RT 5kVA Rack-mountable UPS - 5 Minute Full Load - 5kVA - SNMP Manageable | 3474.44
SURTD5000XLT | APC Smart-UPS RT 5000VA Rack-mountable UPS - 5000VA/3500W | 3676.76
SURT7500XLT | APC SmartSlot Legacy Communications Card | 45.68
AP9620 | APC Interface Expander SmartSlot Card - SmartSlot Black | 212.26
AP9607CB | APC Relay I/O SmartSlot Card - SmartSlot Black | 195.05
AP9619 | APC SmartSlot Triple Management Chassis - Serial | 265.79
AP9604BLK | APC UPS Environmental Monitoring SmartSlot Card - SmartSlot Black | 169.82
AP9617MP | APC Interface Expander SmartSlot Card - SmartSlot Black | 137.12
AP9607 | APC UPS Network Management Card - SmartSlot | 415.99
AP9623 | APC 2-Post Mounting Kit | 146.29
AP9625 | APC UPS Management Adapter - Serial, Serial | 86.52
AP9600 | APC UPS Network Management Card w/ Environmental Monitoring & Out of Band Management - Black | 488.04
AP9618 | APC UPS Network Management Card - SmartSlot | 255.21